## Total with LVDT
Channel numbers for VIS | [7 empty] | 2012-06-08
Osamu Miyakawa, Ryutato Takahashi
JGW-T1100689
|  | These numbers are counted from | [5 empty] | JGW-T1201104.
Quantity matrix
| Item |  | ADC | DAC | BO | Whitening | Dewhitening | Description
| LVDT |  | 2 | 1 | 0 | 0 | 0 | Position sensor
| ACC |  | 1 | 0 | 0 | 1 | 0 | Acelerometer (geophone)
| VC |  | 1 | 1 | 0 | 0 | 1 | Voltage Controller (actualtor)
| STP | ?? | 0 | 0 | 2 | 0 | 0 | Stepper Motor
| PIC | ?? | 0 | 0 | 2 | 0 | 0 | Pico Motor
| OSEM |  | 1 | 1 | 0 | 1 | 1 | Shadow sensor / Coil-magnet acutuator
Type A
|  | Qty. | ADC | DAC | BO | Whitening | Dewhitening
IP+Filter0 | LVDT | 4 | 8 | 4 | 0 | 0 | 0
| ACC | 4 | 4 | 0 | 0 | 4 | 0
| VC | 4 | 4 | 4 | 0 | 0 | 4
| STP | 4 | 0 | 0 | 8 | 0 | 0
| PIC | 1 | 0 | 0 | 2 | 0 | 0
| OSEM | 0 | 0 | 0 | 0 | 0 | 0
Filter1 | LVDT | 1 | 2 | 1 | 0 | 0 | 0
| ACC | 0 | 0 | 0 | 0 | 0 | 0
| VC | 1 | 1 | 1 | 0 | 0 | 1
| STP | 0 | 0 | 0 | 0 | 0 | 0
| PIC | 0 | 0 | 0 | 0 | 0 | 0
| OSEM | 0 | 0 | 0 | 0 | 0 | 0
Filter2 | LVDT | 1 | 2 | 1 | 0 | 0 | 0
| ACC | 0 | 0 | 0 | 0 | 0 | 0
| VC | 1 | 1 | 1 | 0 | 0 | 1
| STP | 0 | 0 | 0 | 0 | 0 | 0
| PIC | 0 | 0 | 0 | 0 | 0 | 0
| OSEM | 0 | 0 | 0 | 0 | 0 | 0
Filter3 | LVDT | 1 | 2 | 1 | 0 | 0 | 0
| ACC | 0 | 0 | 0 | 0 | 0 | 0
| VC | 1 | 1 | 1 | 0 | 0 | 1
| STP | 0 | 0 | 0 | 0 | 0 | 0
| PIC | 0 | 0 | 0 | 0 | 0 | 0
| OSEM | 0 | 0 | 0 | 0 | 0 | 0
BF | LVDT | 1 | 2 | 1 | 0 | 0 | 0
| ACC | 0 | 0 | 0 | 0 | 0 | 0
| VC | 1 | 1 | 1 | 0 | 0 | 1
| STP | 0 | 0 | 0 | 0 | 0 | 0
| PIC | 2 | 0 | 0 | 4 | 0 | 0
| OSEM | 0 | 0 | 0 | 0 | 0 | 0
IM-IRM | LVDT | 0 | 0 | 0 | 0 | 0 | 0
| ACC | 0 | 0 | 0 | 0 | 0 | 0
| VC | 0 | 0 | 0 | 0 | 0 | 0
| STP | 0 | 0 | 0 | 0 | 0 | 0
| PIC | 2 | 0 | 0 | 4 | 0 | 0
| OSEM | 6 | 6 | 6 | 0 | 6 | 6
TM-RM | LVDT | 0 | 0 | 0 | 0 | 0 | 0
| ACC | 0 | 0 | 0 | 0 | 0 | 0
| VC | 0 | 0 | 0 | 0 | 0 | 0
| STP | 0 | 0 | 0 | 0 | 0 | 0
| PIC | 0 | 0 | 0 | 0 | 0 | 0
| OSEM | 4 | 4 | 4 | 0 | 4 | 4
total |  |  | 38 | 26 | 18 | 14 | 18 | ADC: 2 cards, DAC: 2 cards
Type B | 7
|  | Qty. | ADC | DAC | BO | BO | BO
IP+Filter0 | LVDT | 4 | 8 | 4 | 0 | 0 | 0
| ACC | 4 | 4 | 0 | 0 | 4 | 0
| VC | 4 | 4 | 4 | 0 | 0 | 4
| STP | 4 | 0 | 0 | 8 | 0 | 0
| PIC | 1 | 0 | 0 | 2 | 0 | 0
| OSEM | 0 | 0 | 0 | 0 | 0 | 0
Filter1 | LVDT | 1 | 2 | 1 | 0 | 0 | 0
| ACC | 0 | 0 | 0 | 0 | 0 | 0
| VC | 1 | 1 | 1 | 0 | 0 | 1
| STP | 0 | 0 | 0 | 0 | 0 | 0
| PIC | 0 | 0 | 0 | 0 | 0 | 0
| OSEM | 0 | 0 | 0 | 0 | 0 | 0
BF | LVDT | 1 | 2 | 1 | 0 | 0 | 0
| ACC | 0 | 0 | 0 | 0 | 0 | 0
| VC | 1 | 1 | 1 | 0 | 0 | 1
| STP | 0 | 0 | 0 | 0 | 0 | 0
| PIC | 2 | 0 | 0 | 4 | 0 | 0
| OSEM | 0 | 0 | 0 | 0 | 0 | 0
IM-IRM | LVDT | 0 | 0 | 0 | 0 | 0 | 0
| ACC | 0 | 0 | 0 | 0 | 0 | 0
| VC | 0 | 0 | 0 | 0 | 0 | 0
| STP | 0 | 0 | 0 | 0 | 0 | 0
| PIC | 2 | 0 | 0 | 4 | 0 | 0
| OSEM | 6 | 6 | 6 | 0 | 6 | 6
TM-RM | LVDT | 0 | 0 | 0 | 0 | 0 | 0
| ACC | 0 | 0 | 0 | 0 | 0 | 0
| VC | 0 | 0 | 0 | 0 | 0 | 0
| STP | 0 | 0 | 0 | 0 | 0 | 0
| PIC | 0 | 0 | 0 | 0 | 0 | 0
| OSEM | 4 | 4 | 4 | 0 | 4 | 4
total |  |  | 32 | 22 | 18 | 14 | 16 | ADC: 2 cards, DAC: 2 cards
Needs DC voltage controller
Needs BO and BI channnels for whitening/dewhitening

## Total without LVDT
Requirement of ADC/DAC channel number for SAS group | [7 empty] | 2011-11-14
Osamu Miyakawa, Ryutato Takahashi
T11006XX
Quantity matrix
|  |  |  | ADC | DAC | BO | Motor
|  | LVDT |  | 1 | 0 |  | 0
|  | Geophone |  | 1 | 0 |  | 0
|  | Actualtor |  | 1 | 1 |  | 0
|  | Stepper Motor |  | 0 | 0 |  | 1
|  | OSEM |  | 1 | 1 |  | 0
| Type A | 4
|  |  | Qty. | ADC | DAC | BO | Motor
| Pre Isolato | LVDT | 4 | 4 | 0 |  | 0
|  | Geophone | 4 | 4 | 0 |  | 0
|  | Actualtor | 4 | 4 | 4 |  | 0
|  | Stepper Motor | 4 | 0 | 0 |  | 4
|  | OSEM | 0 | 0 | 0 |  | 0
| GAS | LVDT | 1 | 1 | 0 |  | 0
|  | Geophone | 0 | 0 | 0 |  | 0
|  | Actualtor | 1 | 1 | 1 |  | 0
|  | Stepper Motor | 0 | 0 | 0 |  | 0
|  | OSEM | 0 | 0 | 0 |  | 0
| GAS | LVDT | 1 | 1 | 0 |  | 0
|  | Geophone | 0 | 0 | 0 |  | 0
|  | Actualtor | 1 | 1 | 1 |  | 0
|  | Stepper Motor | 0 | 0 | 0 |  | 0
|  | OSEM | 0 | 0 | 0 |  | 0
| GAS | LVDT | 1 | 1 | 0 |  | 0
|  | Geophone | 0 | 0 | 0 |  | 0
|  | Actualtor | 1 | 1 | 1 |  | 0
|  | Stepper Motor | 0 | 0 | 0 |  | 0
|  | OSEM | 0 | 0 | 0 |  | 0
| Pay load | LVDT | 1 | 1 | 0 |  | 0
|  | Geophone | 0 | 0 | 0 |  | 0
|  | Actualtor | 1 | 1 | 1 |  | 0
|  | Stepper Motor | 4 | 0 | 0 |  | 4
|  | OSEM | 8 | 8 | 8 |  | 0
| total |  |  | 28 | 16 |  | 8
| Type B | 7
|  |  | Qty. | ADC | DAC | BO | Motor
| Pre Isolato | LVDT | 4 | 4 | 0 |  | 0
|  | Geophone | 4 | 4 | 0 |  | 0
|  | Actualtor | 4 | 4 | 4 |  | 0
|  | Stepper Motor | 4 | 0 | 0 |  | 4
|  | OSEM | 0 | 0 | 0 |  | 0
| GAS | LVDT | 1 | 1 | 0 |  | 0
|  | Geophone | 0 | 0 | 0 |  | 0
|  | Actualtor | 1 | 1 | 1 |  | 0
|  | Stepper Motor | 0 | 0 | 0 |  | 0
|  | OSEM | 0 | 0 | 0 |  | 0
| Pay load | LVDT | 1 | 1 | 0 |  | 0
|  | Geophone | 0 | 0 | 0 |  | 0
|  | Actualtor | 1 | 1 | 1 |  | 0
|  | Stepper Motor | 4 | 0 | 0 |  | 4
|  | OSEM | 8 | 8 | 8 |  | 0
| total |  |  | 24 | 14 |  | 8