## Slide 1: Precision Tilt and Radius of Curvature Sensor Using Double-Pass AOM
2013. 6. 10.
Kyuman Cho
Department of Physics
Sogang University

## Slide 2: Overview
Introduction
Tilt Sensor Using AOM
Experimental Results
Local Slope Profiler
Summery

## Slide 3: Introduction
A precision tilt sensor has many applications
  Initial tilt alignment of mirrors for KAGRA,
  Scanning slope profiler,
  Torsion measurements,
  And other scientific and high-tech applications
We are proposing a new precision tilt sensor using double-pass AOM interferometer
  High sensitivity: between ~Hz and 100Hz
  Has simple optical arrangement
  Can be integrated into a hybrid fiber-optic sensor
  Immune to environmental perturbations
The same sensor can be used for mapping local slope variations of a mirror with large RoC.

## Slide 4: Introduction: Previous Works
Quasi-Collimator Using Weak Value Amplification (M.D. Turner et al., Opt. Lett., 36, 1479 )
Sensitivity: between 10 and 100 Hz

## Slide 5
Sensitivity: between at 2.4 kHz Hz
11 bounces
Optical lever inside a Sagnac Interferometer (J.M. Hogan et al., Opt. Lett., 36, 1698 )
Introduction: Previous Works

## Slide 6: Double-Pass AOM Intterferometer
Youngkyu Park, Kyuman Cho, OPTICS LETTERS / Vol. 36, No. 3 / February 1, 2011

## Slide 7: Tilt Sensor Arrangement
f
f
Incident
Beam
PBS
QWP
Lens
AOM
M
M

## Slide 8
Beam Separation at focal plane: d = 0.945mm
CCD Beam profiler image
0.945mm
Experimental Results

## Slide 9: Experimental Results: Directional Tilt
pivot line1
pivot line2
Pivot line1
Pivot line2
Pivot line1 = 45Hz
Pivot line2 = 85Hz
~ 33dB
Driven angle variance
~0.27 rad
~ 85dB

## Slide 10: Experimental Results: Linearity
Motorized Rotation stage

## Slide 11
Applied Tilt
Sensitivity: between a few Hz and 100 Hz
Can provide almost photon noise limited sensitivity
Experimental Results

## Slide 12: Work of M. D. Turner et al.
Opt. Lett., 36, 1479

## Slide 13
Work of J. M. Hogan et al.
Opt. Lett., 36, 1968

## Slide 14: Experimental Results
DC stability is measured by using a fixed mirror
Stability
Fixed Mirror
To Detector
Laser
Excellent DC Stability!
AOM

## Slide 15: Experimental Results
Measurement of lateral motion rejection using a displace mirror
Measurement result
Displaced Mirror
To Detector
Laser
AOM
8mm
-1.16 rad
(~58nm)

## Slide 16: Scanning Local Slope Profiler
For a mirror with 2km RoC and 1mm beam separation, the slope at the center of mirror is .5 , which can be measured by using the same arrangement.
The slope of the mirror at distance from O is . The position dependent RoC can be mapped by scanning the beams over the surface of the mirror.
Raster scan or radial scan can be used for mapping local slopes of a curved surface.
Only sensitive to the tilt parallel to the direction of scanning
Insensitive to lateral vibrations while scanning
Independent of amplitude changes

## Slide 17: Scanning Local Slope Profiler
R
x

Point by point scanning scheme for mapping local slope of the mirror

## Slide 18: Summary
A double-pass AOM interferometer scheme has been used for precision tilt measurements
  Can provide very high sensitivity,
  Highly immune to environmental perturbations
Application of our new scheme has been discussed
  Initial tilt alignment of mirrors for KAGRA,
  Local slope profiler for mirrors
  Potentially, a tilt sensor for TOBA