Main Interferometer Subsystem
Overview
Yoichi Aso
KAGRA F2F Meeting
2015/2/5

---
MIF Active Members
Chief: Yoichi Aso (NAOJ)
Sub-Chief: Yuta Michimura (UT)
Nakano (ICRR)
Saito (Niigata)

---
What have we done so far ?
Optical Design
Signal Extraction Scheme
Optical Layout
Mirror specs.
Noise requirements
Y-arm
ITMY
PRM
REFL
PR2
POX
ITMX
ETMX
Laser Beam
From MC
BS
X-arm
PR3
SR2
AS_DC
OMC
SR3
SRM

---
Things to be prepared before the installation begins
(for iKAGRA)
  For Control
Detailed servo design
Analog Circuits
(RFPD, DCPD, RFQPD, DCQPD, Demodulator, Whitening Filter,
RF Distribution, CARM servo board, MC servo board)
Realtime code
For light detection
Optical layout for detection benches
Beam Shutters (?)
Optical tables for detection benches (IOO)
Miscellaneous small optics
(mirrors, holders, lenses, polarizers, etc) (IOO)

---
Recent activities
Focusing on electronics necessary to lock the interferometer
RF PD
RF QPD
DC PD
I-Q demodulators
RF distribution
Common mode servo board
PMC servo board
Cables (RF, D-Sub)

---
ISC Cabling diagram
by Y. Michimura

---
Common mode servo board

---
Green Finesse
aLIGO: green finesse is too low
   --> Contamination of PDH signal from Higher Order Modes
KAGRA
Original design: F ~ 10
New design: F ~ 50
        (T@532nm = 6%)
No extra cost on the mirror coating