Detector Characterization
Kazuhiro Hayama
On behalf of DET subsystem

---
Tasks
- Environmental monitor sensors with GIF
- Environment and Instrument monitor
- Development of characterization system

---
Preparing Environmental Sensors
With GIF
- Hygrometer, thermometer, barometer are tested at the center area of KAGRA now.
- Seismometers, accelerometers are waiting for installation. (Feb ~ earlyMarch)
- Magnetometers will be introduced in the middle of this March.
- Slow data acquisition system will be set up ~early this March.

---
Real-time environment monitor
Env Monitor at the X-End

---
Preparation of monitoring system
Daily Summary Page

---
Web-Based Tools

---
Detchar software
相関関係を調べる
非定常雑音モニタ
- Glitch Monitor
- Line Finder
- Line Tracking
- Line Removal
- Rayleigh Monitor
- Non-Gaussianity Monitor
- RMS Monitor
- Noise Floor Monitor
- Time-Series Monitor
- Spectrum Monitor
- Spectrogram Monitor
- Sensitivity Monitor
- Range Monitor
  - Inspiral
  - Inspiral-Merger-Ringdown
  - Ringdown
  - Stochastic
- Coherence Finder
- Multiple-channel coherence finder (BruCo)
- Pearson correlation Finder
- NonLinear correlation Finder
- Realtime Quick look webpage
- Daily summary webpage
- GUI Interface
- Web-Base Interface
- Command-line Interface
- Health monitor
- Globally Correlated magnetic noise
- Violin mode
- Multi-channel analysis
- Newtonian noise
  - Effect of water inside the mountain
発振などの
ラインモニタ
ガウス性、定常性、非ガウス性
インターフェース
データの様子、スペクトル
重力波への感度

---
Example : GW150914
Data Characterization around GW150914
http://seikai.hep.osaka-cu.ac.jp/~chino/GW150914/characterizeGW150914.html
Glitch pipeline
Non-Gaussianity
BLRMS (60~70Hz)
hayama
Yuzurihara
Yamamoto
Line Tracking
Ueno

---
Toward bKAGRA
- Addition of Guardian info to the webpage(also for iKAGRA)
- Initial PEM plan will be finished in ~ this summer.
- PEM injection system
- Chanel selection to monitor deeply
  - With PEM injection study(2016-2017)
  - With Subsystems (2016-2018)

---
Network
Offline Detchar
Online Detchar
By Kanda