Detector Characterization
Kazuhiro Hayama
On behalf of DET subsystem

---
Human Resources, Cooperation
- Chair : Hayama
- Active members on software development :
  Yamamoto, Yuzurihara, Miyamoto (OCU), Itoh (RESCEU)
- Measurement of environment :
  KAGRA members + ERI +OCU

---
Tasks
- Environmental monitor sensors with GIF
- Environment and Instrument monitor
- Development of characterization system

---
Preparing Environmental Sensors
With GIF
- Hygrometer, thermometer, barometer are tested at the center area of KAGRA now.
- Seismometers, accelerometers are waiting for installation. (Feb ~ earlyMarch)
- Magnetometers will be introduced in the middle of this March.
- Slow data acquisition system will be set up ~early this March.

---
Real-time environment monitor
Env Monitor at the X-End

---
Preparation of monitoring system
Daily Summary Page

---
Web-Based Tools

---
Detchar software
Correlation
Non-Stationarity
- Glitch Monitor
- Line Finder
- Line Tracking
- Line Removal
- Rayleigh Monitor
- Non-Gaussianity Monitor
- RMS Monitor
- Noise Floor Monitor
- Time-Series Monitor
- Spectrum Monitor
- Spectrogram Monitor
- Sensitivity Monitor
- Range Monitor
  - Inspiral
  - Inspiral-Merger-Ringdown
  - Ringdown
  - Stochastic
- Coherence Finder
- Multiple-channel coherence finder (BruCo)
- Pearson correlation Finder
- NonLinear correlation Finder
- Realtime Quick look webpage
- Daily summary webpage
- GUI Interface
- Web-Base Interface
- Command-line Interface
- Health monitor
- File Finder (New)
- Globally Correlated magnetic noise
- Violin mode
- Multi-channel analysis
- Newtonian noise
  - Effect of water inside the mountain
Line
Gaussianity
User Interface
Time-Series
Spectrum
System
Health
GW Range

---
Example : GW150914
Data Characterization around GW150914
http://seikai.hep.osaka-cu.ac.jp/~chino/GW150914/characterizeGW150914.html
Yuzurihara, Yamamoto
Glitch pipeline
BLRMS (60~70Hz)
Seen the signal clearly
Amp. of Power line(60Hz) fluctuated ~+-5E-21
Amp. of 500Hz line decreasing
>100Hz, Gaussianity pretty good
<100Hz, non-Gaussian
516Gz line: strange behavior.
Yuzurihara
Hayama
Non-Gaussianity
Line Tracking
Yamamoto
Ueno

---
Toward bKAGRA
- Addition of Guardian info to the webpage(also for iKAGRA)
- Initial PEM plan will be finished in ~ this summer.
- Measurement of the magnetic field around mirrors
- Development of PEM injection system
- Channel selection to monitor deeply
  - With Subsystems
  - With PEM injection study(2016-2017)

---
Network
Offline Detchar
Online Detchar
By Kanda