KAGRA Detector Characterizationの
開発進捗状況（IV）
端山和大(ICRR),阿久津智忠(NAOJ),熱田将(東工大), 伊藤洋介(東大RESCEU), 神田展行(大阪市大), 金山雅人(大阪市大),苔山圭衣子(ICRR),宗宮健太郎(東工大),辰巳大輔(NAOJ), 都丸隆行(KEK), 成川達也(大阪市大), 間野修平(統数研), 宮川治(東大宇宙線研), 宮本晃伸(大阪市大),上野昂(大阪市大), 山本尚弘(大阪市大), 譲原浩貴(大阪市大), 横澤孝章(大阪市大)

---
Detector Characterization

---
Detector Characterization
- 望遠鏡が正しく動作しているかどうかを診断
  - 奇妙な発振？Saturation？雑音レベル？
  - カップルしているチャンネルは？その起源は？
- 環境センサの配置
  - 地震計、磁束計、温度、湿度計、・・・
- データの状態や質を評価し、サイエンスを最大化させる。
  - 現在の観測データで見える重力波の距離
  - データに含まれている

---
進捗状況：システム、ツール
- Glitch Monitor
- Line Finder
- Line Tracking
- Line Removal
- Rayleigh Monitor
- Non-Gaussianity Monitor
- RMS Monitor
- Noise Floor Monitor
- Time-Series Monitor
- Spectrum Monitor
- Spectrogram Monitor
- Sensitivity Monitor
- Range Monitor
  - Inspiral
  - Inspiral-Merger-Ringdown
  - Ringdown
  - Stochastic
- Coherence Finder
- Multiple-channel coherence finder (BruCo)
- Pearson correlation Finder
- NonLinear correlation Finder
- Realtime Quick look webpage
- Daily summary webpage
- GUI Interface
- Web-Base Interface
- Command-line Interface
- Health monitor
- File Finder
- Globally Correlated magnetic noise
- Violin mode
- Multi-channel analysis
- Newtonian noise
  - Effect of water inside the mountain

---
進捗状況：システム、ツール
相関関係を調べる
非定常雑音モニタ
- Glitch Monitor
- Line Finder
- Line Tracking
- Line Removal
- Rayleigh Monitor
- Non-Gaussianity Monitor
- RMS Monitor
- Noise Floor Monitor
- Time-Series Monitor
- Spectrum Monitor
- Spectrogram Monitor
- Sensitivity Monitor
- Range Monitor
  - Inspiral
  - Inspiral-Merger-Ringdown
  - Ringdown
  - Stochastic
- Coherence Finder
- Multiple-channel coherence finder (BruCo)
- Pearson correlation Finder
- NonLinear correlation Finder
- Realtime Quick look webpage
- Daily summary webpage
- GUI Interface
- Web-Base Interface
- Command-line Interface
- Health monitor
- File Finder
- Globally Correlated magnetic noise
- Violin mode
- Multi-channel analysis
- Newtonian noise
  - Effect of water inside the mountain
発振などの
ラインモニタ
Sumitted toPRD Yuzurihara+
ガウス性、定常性、非ガウス性
Sumitted toPRD
Yamamoto+
インターフェース
データの様子、スペクトル
データ保存チェック
重力波への感度

---
aLIGOで有効なものを吸収
- Glitch Monitor
- Line Finder
- Line Tracking
- Line Removal
- Rayleigh Monitor
- Non-Gaussianity Monitor
- RMS Monitor
- Noise Floor Monitor
- Time-Series Monitor
- Spectrum Monitor
- Spectrogram Monitor
- Sensitivity Monitor
- Range Monitor
  - Inspiral
  - Inspiral-Merger-Ringdown
  - Ringdown
  - Stochastic
- Coherence Finder
- Multiple-channel coherence finder (BruCo)
- Pearson correlation Finder
- NonLinear correlation Finder
- Realtime Quick look webpage
- Daily summary webpage
- GUI Interface
- Web-Base Interface
- Command-line Interface
- Health monitor
- Globally Correlated magnetic noise
- Violin mode
- Multi-channel analysis
- Newtonian noise
  - Effect of water inside the mountain
山本

---
Preparation of monitoring system
Daily Summary Page

---
Web-Based Tools

---
Example : GW150914
Data Characterization around GW150914
Glitch pipeline
BLRMS (60~70Hz)
Seen the signal clearly
Amp. of Power line(60Hz) fluctuated ~+-5E-21
Amp. of 500Hz line decreasing
>100Hz, Gaussianity pretty good
<100Hz, non-Gaussian
516Gz line: strange behavior.
Yuzurihara
Hayama
Non-Gaussianity
Line Tracking
Yamamoto
Ueno

---
環境雑音のモニタ（現在進行中）
湧水の影響
地震計
音圧計
温湿度、気圧計

---
Next
KAGRA試験観測前半
- 干渉計信号のDetcharシステムによるモニタ
- システマティックなデータ評価基準の定義
  KAGRA試験観測後半
- 環境雑音の測定
- KAGRA観測に向けてのフィードバック

---
Option

---
KAGRA発の評価法を開発
定常非ガウス性、数100秒スケースの非ガウス性、それらの周波数依存性を発見し、詳細を調べる
詳しくは次の山本氏の講演
- Glitch Monitor
- Line Finder
- Line Tracking
- Line Removal
- Rayleigh Monitor
- Non-Gaussianity Monitor
- RMS Monitor
- Noise Floor Monitor
- Time-Series Monitor
- Spectrum Monitor
- Spectrogram Monitor
- Sensitivity Monitor
- Range Monitor
  - Inspiral
  - Inspiral-Merger-Ringdown
  - Ringdown
  - Stochastic
- Coherence Finder
- Multiple-channel coherence finder (BruCo)
- Pearson correlation Finder
- NonLinear correlation Finder
- Realtime Quick look webpage
- Daily summary webpage
- GUI Interface
- Web-Base Interface
- Command-line Interface
- Globally Correlated magnetic noise
- Violin mode
- Multi-channel analysis
- Newtonian noise
  - Effect of water inside the mountain
Yamamoto+ in prep
This research has made use of data, software and/or web tools obtained from the LIGO Open Science Center (https://losc.ligo.org), a service of LIGO Laboratory and the LIGO Scientific Collaboration. LIGO is funded by the United States National Science Foundation.

---
KAGRA発の線形でない相関を発見する手法の開発
- Glitch Monitor
- Line Finder
- Line Tracking
- Line Removal
- Rayleigh Monitor
- Non-Gaussianity Monitor
- RMS Monitor
- Noise Floor Monitor
- Time-Series Monitor
- Spectrum Monitor
- Spectrogram Monitor
- Sensitivity Monitor
- Range Monitor
  - Inspiral
  - Inspiral-Merger-Ringdown
  - Ringdown
  - Stochastic
- Coherence Finder
- Multiple-channel coherence finder (BruCo)
- Pearson correlation Finder
- NonLinear correlation Finder
- Realtime Quick look webpage
- Daily summary webpage
- GUI Interface
- Web-Base Interface
- Command-line Interface
- Health monitor
- Globally Correlated magnetic noise
- Violin mode
- Multi-channel analysis
- Newtonian noise
  - Effect of water inside the mountain
Yuzurihara+ in prep
譲原

---
HasKAL
https://github.com/gw-analysis/detector-characterization

---
環境モニタ
X-Endで環境モニタ

---
重力波望遠鏡の観測データ（例）
Virgo
Virgo
1390のラインのうち、起源が特定できたのは960個
SNR>5のイベントが毎秒1.8個
重力波発見を宣言には、こういった起源不明の雑音を特定、除去していかなければならない。

---
データの（定常、非定常） 非ガウス性
Rayleigh分布
LSC
周波数

---
ラインのキャラクタリゼーション
aLOG
(2014 Decより)