## Slide 1
KAGRA Control Room Appearance (tentative)
Main Monitors
CCD Monitor
Live View
Earthquake Info
Main Monitor: You can check interferometer condition, temperature, humidity in KAGRA site.
CCD Monitor: You can check output of CCD cameras.
Earthquake Info (USGS website): You can monitor earthquakes around Japan.
Live View: You can see live views in KAGRA site.
This is control room for KAGRA.

## Slide 2
Main Monitors
OptLev (PR3, BS, EX, EY):
Optical lever signals in PR3 (power recycling mirror), BS (beam splitter), EX (X end mirror), and EY (Y end mirror)
MC Control Monitor:
Control settings
in mode cleaner
Temperature: Local-temperatures in KAGRA site
Humidity: Local humidities in KAGRA site
MC OptLev, MC Trans: Optical lever signals in MCi, MCe, and MCo. And MCe transmitted signal
LSC refl: Interference signal

## Slide 3
PMC trans:
Transmitted signal from pre-mode cleaner
CCD Monitor
MCF refl:
Reflection signal from input mirror in Mode cleaner
MCE trans:
Transmitted signal from end mirror in Mode cleaner
EX trans:
Transmitted signal from X end mirror
EY trans:
Transmitted signal from Y end mirror
IFO refl:
Interference signal
PR3
BS
X end mirror
Y end mirror
Michelson interferometer
Mode cleaner
Pre-mode cleaner
MCe
MCi
MCe