## Slide 1: Status of The KAGRA Project
2017/3/15@LVC Meeting at Hilton Pasadena
National Astronomical Observatory of Japan
Yoichi Aso
On Behalf of The KAGRA Project

## Slide 2: The KAGRA Project
About 300 collaborators
Over 30 Japanese institutes, over 40 international institutes

## Slide 3: KAGRA Baseline Configuration
PRM
PR2
PR3
SR3
SR2
SRM
ITMY
ETMY
ITMX
ETMX
BS
Mode Cleaner
IMMT
IFI
BRT
BRT
Type-B
Type-Bp
Type-C
Others
Type-A (cryogenic)
OMC
OMMT
OFI
OST
Output
Optics
Output Optics

## Slide 4: KAGRA Baseline Sensitivity
NSNS Range = 151Mpc

## Slide 6: Roadmap
6
2016 |  |  |  | 2017 |  |  |  | 2018 |  |  |  | 2019 |  |  |  | 2020 |  |  | 
Phase 1
Michelson at cryogenic temp.
Test run
Suspension installation
Cool down
Cryogenics development
Cool down
IFO upgrade
Cryo. payload installation
Cryo. payload upgrade
Noise hunting
Initial KAGRA
Michelson at room temp.
Test run
Phase 2
RSE at cryogenic temp.
Test run
Phase 3
RSE at cryogenic temp.
Observation run

## Slide 7: Observation Scenario
Under discussion

## Slide 8: Initial KAGRA (iKAGRA)
PR2
PR3
ETMY
ETMX
BS
Mode Cleaner
IMMT
IFI
Fixed
Type-Bp’
Type-C
Others
Michelson (mid-fringe lock -> RF readout)
Room Temperature
Temporary Suspensions/Mirrors
GW signal

## Slide 9: iKAGRA Test Run
March 25 – April 25, 2016
Only 3km arms were under vacuum
Strong beam clipping by optical windows
Main Purpose
Test of the KAGRA facility
Gain experience in underground work

## Slide 11: bKAGRA phase 1
PRM
PR2
PR3
SR3
SR2
ETMY
ETMX
BS
Mode Cleaner
IMMT
IFI
BRT
BRT
GW signal
Cryogenic Michelson Interferometer
Full scale suspensions
High power compatible input optics
Start operation by the end of March 2018

## Slide 12: bKAGRA phase 1 schedule
2017 |  |  |  |  |  |  |  |  |  | 2018 |  | 
3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3
PR Mirrors
BS
SR3
SR2?
ETMX
Type-A
ETMY
Type-A
ETM Coating
Suspension
Prep.
ETMY
Cryo-Payload
ETMX
Cryo-Payload
ETMY
Cool down
ETMX
Cool down
PSL Upgrade
IMC
MICH alignment
Lock

## Slide 13: Type-A + Cryogenic Suspension
14m
Cryo-Payload
Type-A
(room temp.)

## Slide 15: Hydro-Catalysis Bonding Test
Passed 15-day endurance test
Entire weight was
supported by HC bonded ears
From the presentation by Kieran Craig@5th ELiTES Meeting

## Slide 16: Type-A Suspension Installation

## Slide 17: BS and PR Suspensions

## Slide 18: Life is not so easy
Avalanche

## Slide 19: Thank you very much for your help
Just to name a few …
Digital system (LIGO)
Timing delivery system (LIGO)
Mirror substrates (LIGO)
Optics characterization (LIGO)
Electronics design (LIGO, Virgo)
Design ideas, advice on suspensions (Virgo)
Inverted Pendulum (Virgo/NIKHEF)
Many ideas (all the GW community)