## Slide 1: KAGRAにおけるPower Recycling鏡の防振懸架系システムの開発 III
正田亜八香、KAGRA collaboration

## Slide 2: KAGRA VIS
Laser in
Requirements

## Slide 3: Type-Bp
GAS1
(Standard filter)
GAS2
(Bottom filter)
Intermediate mass/
Intermediate recoil mass
PR mirror/
Recoil mass
0.6m
0.5m
0.6m
1.7m
Traverser

## Slide 4: 問題点
Cannot be damped!
アクティブに減衰させられない共振ピークがある
→全体が揺れすぎていて干渉計を共振状態に引き込めない
励起された後、ロックできるようになるまで時間がかかる
鏡の速度
Req.

## Slide 5: 解決策
BF
IM/IRM
Mirror/RM
NEW!

## Slide 6
BFRMの追加

## Slide 7: Test Hangingで得られた結果

## Slide 8: Achievment
2017/1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 
TEST HANGING
PR3
PR2
PR2 Mirror Trouble
前回の物理学会で発表済み
Optical benchサスペンションの構築
経験値の獲得
PR2ミラーのトラブル中の準備、test hanging, PR3で獲得した経験
により、アセンブリ完了が加速
PRM
WHAT‘S NEW?
アセンブリ完了！
残り：真空槽内への インストールのみ

## Slide 9
大石奈緒子 (NAOJ), 三代浩世希 (ICRR), 粕谷順子 (東工大), 染谷望 (法政大), 橋本安寿佳 (法政大), 平山哲 (法政大),
関口徹也 (法政大), 藤井善範 (東大/NAOJ), 秋山優太 (法政大), 桐井真 (ICRR), 小森健太郎 (東大), 黒木瞬史 (東大/NAOJ), 新井友也 (ICRR), 吉田涼介 (工学院大)
TEST HANGING
PR3
PRM
Coming soon!
PR2
Type-Bp インストールチーム

## Slide 10: 各サスペンションの性能
PR2
PR3
各サスペンションの共振周波数を測定  防振性能を計算
PRM
3つのsuspensionでほぼ同じ
性能が得られている
preliminary
preliminary

## Slide 11: 比較
TML
TMV(100%)
Pitch, rollの共振周波数が
少しずつ違う
（各段のおもりの載せ方など）
防振比の差@10Hzは
最大約1.5倍程度
preliminary
preliminary

## Slide 12: 共振モード減衰時間（PR3）
Measured by Y. Fujii & R. Yoshida
preliminary
BFRMによるdamping 効果を測定
 要求値をすべて満たす
各共振モードの減衰時間が1分以下
 ロックの外れた干渉計を素早く観測モードに戻せる

## Slide 13: 長期ドリフト
BF/BFRM
相対距離
SF
BFRM
BF
IRM
IM
RM
Mirror
2017/7/1
0:00(UTC)
2017/7/31
0:00
900
Disp. [um]
800
700
600
BF L
-1100
-1200
-1300
-1400
-1500
Disp. [um]
BF T
-2100
-2200
-2300
-2400
-2500
Disp. [um]
BF V
-1200
-1300
-1400
-1500
-1600
Disp. [urad]
BF P
-500
-700
-900
Disp. [urad]
BF R
BF Y
V
T
L
Y
P
R
3200
3000
2800
Disp. [urad]
2017/7/1
0:00(UTC)
2017/7/31
0:00

## Slide 14: 長期ドリフト
IM/IRM
相対距離
SF
BFRM
BF
IRM
IM
RM
Mirror
2017/7/1
0:00(UTC)
2017/7/31
0:00
0
Disp. [um]
-20
-40
IM L
40
20
0
Disp. [um]
IM T
40
0
-40
-80
Disp. [um]
IM V
200
0
-200
-400
-600
Disp. [urad]
IM P
IM Y
V
T
L
Y
P
R
200
0
-200
Disp. [urad]
2017/7/1
0:00(UTC)
2017/7/31
0:00
200
0
-200
Disp. [urad]
IM R
400
-400

## Slide 15: 長期ドリフト
IM/IRM
相対距離
SF
BFRM
BF
IRM
IM
RM
Mirror
2017/7/1
0:00(UTC)
2017/7/31
0:00
0
Disp. [um]
-20
-40
IM L
40
20
0
Disp. [um]
IM T
40
0
-40
-80
Disp. [um]
IM V
200
0
-200
-400
-600
Disp. [urad]
IM P
IM Y
V
T
L
Y
P
R
200
0
-200
Disp. [urad]
2017/7/1
0:00(UTC)
2017/7/31
0:00
200
0
-200
Disp. [urad]
IM R
400
-400
傾き・回転で大きなドリフト
DC制御 ＋ 干渉計制御の合間に自動的に ドリフトオフセットを補正する システムが必要

## Slide 16: まとめと今後の課題
PRMの真空槽内へのインストール
未測定の共振モードの測定
Q値（減衰時間）の各suspension間の比較
ダンピング制御によるセンサーノイズの評価・最適化
ドリフト補正システムの構築
コントロール系の自動化 etc….
KAGRAのパワーリサイクリング鏡用防振装置（Type-Bp）を開発 PR3, PR2はインストールまで完了 PRMはアセンブリ完了、インストールを残すのみ
各suspensionの防振性能を比較  ほぼ等しい防振性能が得られた
共振モードの減衰時間は、ダンピングにより1分以下を達成できる見込み
長期ドリフトを自動的に補正し、actuationのDC offsetを緩和するシステムが必要
今後の予定：

## Slide 17: Mirror trouble
1. OSEM flag removing took a long time
2. Some of the wire breakers refused to be glued on the mirror for a long time
The position and dimension of the flags make it difficult to dissolve the glue.
In case of the spare mirror and the iKAGRA PR3, they were removed within a week. This time, two of the flags could not be removed more than 2 weeks.
We could attached the wire breakers in iKAGRA phase (but sapphire) once with the same condition, but this time, we failed gluing many times.
We do not know the reason, but they are glued when we changed the gluing jig box (dimension is the same) and with the supervise of experienced person.

## Slide 18: Other new topics/troubles
The tilt of the mirror changed a lot after we fixed the mirror. The suspension wires around the mirror slipped?
The PR2 mirror is thinner than design…??
PRM DGS system and PR3 DGS system cannot be worked at the same time. Now we are sharing PR3 model with PR3 and PRM.
We found some screws to be replaced including the PR3 (vent holes required).
The optical bench is suspended. The performance is not yet measured. The height of the optical bench have to be changed from the original design since the spacers in PR2 tank, which were inserted during the iKAGRA phase, cannot be removed.
Optical bench
Spacers are inserted here

## Slide 19: Model
BFRM ring
Sensor & actuator
Inspired from Filter 7 damping system in Virgo. Thanks to R. Passaquieti, V. Dattilo, and F. Paoletti.

## Slide 20: New from iKAGRA
BF damping system BF recoil mass BF LVDT (sensors and actuators)
3 stage pendulum＋2 GAS filters
Wide cavity OSEMs
Remove sensing function on the TM OSEMS  Length-sensing OpLev
Design change in the IM OSEM flags
Changing disassembly procedure
IM OSEM
TM OSEM

## Slide 22: Measurement
6 OSEMs
(sensor & actuator unit)
4 coil-magnet actuators
Angular optical lever (OpLev)
Length sensing optical lever
6 LVDTs
1 LVDT for GAS
LVDT for GAS
(sensor & actuator unit)
* ground-mirror
* IM-IRM
* BF-BFRM
* BF-suspension point
* ground-suspension point
Active damping using the local sensors and actuator at each stage.

## Slide 23: Results
V
T
L
Y
P
R
BF LVDT
GAS LVDT
w/o damping
IM OSEM
* Calibration factors have large uncertainty for BF LVDT.

## Slide 24: Results
V
T
L
Y
P
R
IM OSEM
BF LVDT
GAS LVDT
w/ damping
* Calibration factors have large uncertainty for BF LVDT.

## Slide 25: Result
Mirror Displacement
Mirror YAW
Mirror PITCH
w/o Damping
w/ IM Damping
w/ IM& BF Damping
w/o Damping
w/ IM Damping
w/ IM& BF Damping
w/o Damping
w/ IM Damping
w/ IM& BF Damping
* Calibration factors have large uncertainty.

## Slide 26: Result
Mirror Velocity
w/o Damping
w/ IM Damping
w/ IM& BF Damping
* Calibration factors have large uncertainty.
Req.
Resonant mode is properly damped 
Limited by sensor noise

## Slide 27: Compare with the simulation
Req.
Req.

## Slide 29: Damping time simulation
※controlled only in L,T,Y at BF
BR V
TM T, RM -T
L
(optical axis)
T
V
mirror